## Calcium Analysis
CALCIUM ANALYSIS REPORT
Generated: 2025-07-31 16:52:53
Total Patients: 104 ¦ Normal: 58 ¦ Abnormal Calcium: 46
Patient_ID | Test_Name | Age | Gender | Calcium_Value | Classification | Normal_Range | Color_Code | Gold_Standard | Accuracy_Error
PMT24205895 | Calcium | 35 | Female | 9.7 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 8.8 mg/dL | 0.87 mg/dL
PMT24236051 | Calcium | 35 | Female | 7.8 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 8.4 mg/dL | 0.59 mg/dL
PMT24207464 | Calcium | 35 | Female | 9.8 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 8.9 mg/dL | 0.89 mg/dL
PMT24223065 | Calcium | 35 | Female | 6.4 mg/dL | Hypocalcemia_Severe | 8.5-10.5 mg/dL | RED | 8.6 mg/dL | 2.24 mg/dL
PMT24205774 | Calcium | 35 | Female | 8.1 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 8.4 mg/dL | 0.30 mg/dL
PMT24241016 | Calcium | 35 | Male | 7.3 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 7.1 mg/dL | 0.21 mg/dL
PMT24241368 | Calcium | 35 | Female | 9.2 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 8.7 mg/dL | 0.47 mg/dL
PMT24147146 | Calcium | 35 | Female | 8.2 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 8.9 mg/dL | 0.70 mg/dL
PMT24214569 | Calcium | 35 | Female | 7.6 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 8.0 mg/dL | 0.40 mg/dL
PMT24240631 | Calcium | 35 | Female | 7.2 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 8.0 mg/dL | 0.78 mg/dL
PMT24157876 | Calcium | 35 | Female | 7.6 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 7.5 mg/dL | 0.10 mg/dL
PMT24124508 | Calcium | 35 | Female | 8.2 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 8.6 mg/dL | 0.35 mg/dL
PMT22194617 | Calcium | 35 | Female | 8.3 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 8.5 mg/dL | 0.18 mg/dL
PMT24086912 | Calcium | 35 | Female | 6.0 mg/dL | Hypocalcemia_Severe | 8.5-10.5 mg/dL | RED | 5.1 mg/dL | 0.85 mg/dL
PMT21006592 | Calcium | 35 | Male | 9.3 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 8.9 mg/dL | 0.39 mg/dL
PMT23051026 | Calcium | 35 | Male | 8.9 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 8.8 mg/dL | 0.06 mg/dL
PMT24182731 | Calcium | 35 | Female | 8.1 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 8.7 mg/dL | 0.60 mg/dL
PMT24241260 | Calcium | 35 | Female | 8.4 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 8.8 mg/dL | 0.40 mg/dL
PMT24241330 | Calcium | 35 | Female | 9.5 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 9.3 mg/dL | 0.24 mg/dL
PMT24241351 | Calcium | 35 | Female | 8.8 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 9.1 mg/dL | 0.31 mg/dL
PMT24238886 | Calcium | 35 | Male | 8.0 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 7.4 mg/dL | 0.62 mg/dL
PMT23004455 | Calcium | 35 | Female | 9.4 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 8.9 mg/dL | 0.50 mg/dL
PMT24235541 | Calcium | 35 | Female | 7.4 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 8.6 mg/dL | 1.20 mg/dL
PMT24126364 | Calcium | 35 | Female | 9.4 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 8.8 mg/dL | 0.63 mg/dL
PMT22107532 | Calcium | 35 | Female | 9.4 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 9.3 mg/dL | 0.12 mg/dL
PMT24006556 | Calcium | 35 | Male | 6.2 mg/dL | Hypocalcemia_Severe | 8.5-10.5 mg/dL | RED | 5.9 mg/dL | 0.26 mg/dL
PMT24241344 | Calcium | 35 | Male | 10.3 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 10.2 mg/dL | 0.10 mg/dL
PMT24239465 | Calcium | 35 | Male | 9.6 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 9.2 mg/dL | 0.35 mg/dL
PMT24238603 | Calcium | 35 | Male | 8.9 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 9.1 mg/dL | 0.21 mg/dL
PMT24217994 | Calcium | 35 | Female | 9.5 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 9.0 mg/dL | 0.49 mg/dL
PMT24221751 | Calcium | 35 | Female | 10.2 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 9.5 mg/dL | 0.71 mg/dL
PMT24049339 | Calcium | 35 | Male | 9.4 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 8.2 mg/dL | 1.19 mg/dL
PMT24176970 | Calcium | 35 | Female | 8.5 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 7.9 mg/dL | 0.62 mg/dL
PMT24241150 | Calcium | 35 | Female | 9.7 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 9.5 mg/dL | 0.15 mg/dL
PMT24241143 | Calcium | 35 | Female | 9.1 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 8.8 mg/dL | 0.27 mg/dL
PMT24240944 | Calcium | 35 | Female | 9.0 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 8.4 mg/dL | 0.58 mg/dL
PMT24104442 | Calcium | 35 | Female | 8.3 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 9.9 mg/dL | 1.59 mg/dL
PMT24241122 | Calcium | 35 | Male | 9.3 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 8.6 mg/dL | 0.75 mg/dL
PMT24213757 | Calcium | 35 | Female | 8.8 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 9.1 mg/dL | 0.35 mg/dL
PMT24129578 | Calcium | 35 | Male | 10.2 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 10.3 mg/dL | 0.14 mg/dL
PMT24208780 | Calcium | 35 | Female | 9.1 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 8.8 mg/dL | 0.26 mg/dL
PMT24241091 | Calcium | 35 | Female | 8.0 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 8.7 mg/dL | 0.68 mg/dL
PMT22283885 | Calcium | 35 | Female | 9.6 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 8.8 mg/dL | 0.78 mg/dL
PMT21053678 | Calcium | 35 | Female | 10.7 mg/dL | Hypercalcemia_Mild | 8.5-10.5 mg/dL | ORANGE | 9.7 mg/dL | 0.99 mg/dL
PMT24241119 | Calcium | 35 | Female | 10.1 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 9.6 mg/dL | 0.50 mg/dL
PMT23227209 | Calcium | 35 | Male | 10.5 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 9.5 mg/dL | 0.99 mg/dL
PMT24123516 | Calcium | 35 | Female | 8.0 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 8.1 mg/dL | 0.13 mg/dL
PMT24236007 | Calcium | 35 | Female | 8.7 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 8.8 mg/dL | 0.10 mg/dL
PMT23004470 | Calcium | 35 | Male | 9.8 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 9.2 mg/dL | 0.61 mg/dL
PMT23004470 | Calcium | 35 | Male | 10.2 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 10.6 mg/dL | 0.42 mg/dL
PMT24108333 | Calcium | 35 | Female | 10.0 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 9.1 mg/dL | 0.90 mg/dL
PMT25001177 | Calcium | 35 | Female | 5.4 mg/dL | Hypocalcemia_Severe | 8.5-10.5 mg/dL | RED | 5.6 mg/dL | 0.20 mg/dL
PMT24242692 | Calcium | 35 | Female | 10.1 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 8.5 mg/dL | 1.60 mg/dL
PMT24242667 | Calcium | 35 | Female | 8.1 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 7.2 mg/dL | 0.87 mg/dL
PMT25002226 | Calcium | 35 | Female | 8.4 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 8.1 mg/dL | 0.27 mg/dL
PMT24241865 | Calcium | 35 | Female | 10.5 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 8.8 mg/dL | 1.68 mg/dL
PMT23035852 | Calcium | 35 | Female | 9.0 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 8.9 mg/dL | 0.10 mg/dL
PMT24234204 | Calcium | 35 | Female | 8.9 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 8.9 mg/dL | 0.00 mg/dL
PMT25000080 | Calcium | 35 | Female | 8.6 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 8.7 mg/dL | 0.10 mg/dL
PMT24229696 | Calcium | 35 | Female | 7.4 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 8.0 mg/dL | 0.60 mg/dL
PMT24241136 | Calcium | 35 | Female | 8.2 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 7.9 mg/dL | 0.25 mg/dL
PMT22240554 | Calcium | 35 | Female | 8.6 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 8.5 mg/dL | 0.10 mg/dL
PMT24220567 | Calcium | 35 | Female | 7.0 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 7.6 mg/dL | 0.60 mg/dL
PMT24215167 | Calcium | 35 | Female | 9.8 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 9.1 mg/dL | 0.70 mg/dL
PMT24235026 | Calcium | 35 | Female | 11.3 mg/dL | Hypercalcemia_Mild | 8.5-10.5 mg/dL | ORANGE | 9.1 mg/dL | 2.20 mg/dL
PMT24236074 | Calcium | 35 | Female | 8.2 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 8.9 mg/dL | 0.70 mg/dL
PMT24199740 | Calcium | 35 | Female | 9.1 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 9.3 mg/dL | 0.16 mg/dL
PMT24249524 | Calcium | 35 | Female | 9.4 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 9.0 mg/dL | 0.38 mg/dL
PMT231074446 | Calcium | 35 | Female | 9.4 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 8.7 mg/dL | 0.70 mg/dL
PMT25011581 | Calcium | 35 | Female | 9.1 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 9.4 mg/dL | 0.30 mg/dL
PMT24017193 | Calcium | 35 | Female | 8.7 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 8.9 mg/dL | 0.20 mg/dL
PMT24165833 | Calcium | 34 | Female | 8.7 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 8.6 mg/dL | 0.10 mg/dL
PMT23071235 | Calcium | 21 | Female | 7.8 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 7.3 mg/dL | 0.50 mg/dL
PMT25021810 | Calcium | 26 | Female | 9.1 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 7.8 mg/dL | 1.28 mg/dL
PMT23036808 | Calcium | 23 | Female | 11.1 mg/dL | Hypercalcemia_Mild | 8.5-10.5 mg/dL | ORANGE | 9.2 mg/dL | 1.90 mg/dL
PMT21011431 | Calcium | 48 | Male | 8.7 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 8.9 mg/dL | 0.20 mg/dL
PMT25019575 | Calcium | 39 | Female | 8.6 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 8.6 mg/dL | 0.00 mg/dL
PMT22012057 | Calcium | 54 | Female | 9.3 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 8.7 mg/dL | 0.60 mg/dL
PMT25022730 | Calcium | 58 | Male | 8.2 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 6.5 mg/dL | 1.70 mg/dL
PMT24058987 | Calcium | 78 | Female | 7.6 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 8.4 mg/dL | 0.80 mg/dL
PMT25020581 | Calcium | 35 | Female | 8.1 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 9.1 mg/dL | 0.99 mg/dL
PMT25022987 | Calcium | 27 | Male | 8.4 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 8.7 mg/dL | 0.30 mg/dL
PMT23036808 | Calcium | 23 | Female | 9.3 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 9.2 mg/dL | 0.10 mg/dL
PMT21012999 | Calcium | 43 | Female | 10.0 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 9.2 mg/dL | 0.80 mg/dL
PMT25019545 | Calcium | 35 | Female | 10.3 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 9.6 mg/dL | 0.75 mg/dL
PMT25005376 | Calcium | 24 | Male | 11.1 mg/dL | Hypercalcemia_Mild | 8.5-10.5 mg/dL | ORANGE | 10.4 mg/dL | 0.70 mg/dL
PMT25021043 | Calcium | 35 | Female | 11.1 mg/dL | Hypercalcemia_Mild | 8.5-10.5 mg/dL | ORANGE | 9.6 mg/dL | 1.50 mg/dL
PMT25023109 | Calcium | 35 | Male | 10.4 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 9.5 mg/dL | 0.90 mg/dL
PMT25020705 | Calcium | 35 | Female | 9.7 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 9.7 mg/dL | 0.00 mg/dL
PMT22112957 | Calcium | 21 | Male | 5.9 mg/dL | Hypocalcemia_Severe | 8.5-10.5 mg/dL | RED | 6.0 mg/dL | 0.10 mg/dL
PMT25023167 | Calcium | 7 | Female | 8.3 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 9.0 mg/dL | 0.70 mg/dL
PMT20017441 | Calcium | 21 | Male | 9.7 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 8.9 mg/dL | 0.80 mg/dL
PMT25018932 | Calcium | 35 | BABY | 9.9 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 9.0 mg/dL | 0.90 mg/dL
PMT25017657 | Calcium | 35 | BABY | 1.1 mg/dL | Hypocalcemia_Severe | 8.5-10.5 mg/dL | RED | 1.0 mg/dL | 0.10 mg/dL
PMT25017013 | Calcium | 35 | BABY | 11.0 mg/dL | Hypercalcemia_Mild | 8.5-10.5 mg/dL | ORANGE | 9.6 mg/dL | 1.40 mg/dL
PMT25016506 | Calcium | 35 | BABY | 1.2 mg/dL | Hypocalcemia_Severe | 8.5-10.5 mg/dL | RED | 1.0 mg/dL | 0.20 mg/dL
PMT25006689 | Calcium | 35 | BABY | 11.0 mg/dL | Hypercalcemia_Mild | 8.5-10.5 mg/dL | ORANGE | 10.1 mg/dL | 0.90 mg/dL
PMT22289016 | Calcium | 55 | Male | 7.9 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 7.7 mg/dL | 0.20 mg/dL
PMT25022996 | Calcium | 84 | Female | 9.8 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 9.3 mg/dL | 0.50 mg/dL
PMT24211959 | Calcium | 34 | Male | 9.8 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 8.7 mg/dL | 1.10 mg/dL
PMT2502328 | Calcium | 5 | Male | 8.6 mg/dL | Normal | 8.5-10.5 mg/dL | GREEN | 9.1 mg/dL | 0.50 mg/dL
PMT25023197 | Calcium | 58 | Male | 6.4 mg/dL | Hypocalcemia_Severe | 8.5-10.5 mg/dL | RED | 6.9 mg/dL | 0.50 mg/dL
PMT23101241 | Calcium | 32 | Female | 8.0 mg/dL | Hypocalcemia_Mild | 8.5-10.5 mg/dL | YELLOW | 8.6 mg/dL | 0.58 mg/dL
XYZ | Calcium | 700 | MALE | 500.0 mg/dL | Hypercalcemia_Severe | 8.5-10.5 mg/dL | PURPLE | 500.0 mg/dL | 0.00 mg/dL

## Summary Report
CALCIUM ANALYSIS SUMMARY REPORT
Generated: 2025-07-31 16:52:53
Mode: APPEND - Added new records
BASIC STATISTICS
Total Patients: 104
CLASSIFICATION DISTRIBUTION
Normal: | 58 patients (55.8%)
Hypocalcemia Mild: | 30 patients (28.8%)
Hypocalcemia Severe: | 8 patients (7.7%)
Hypercalcemia Mild: | 7 patients (6.7%)
Hypercalcemia Severe: | 1 patients (1.0%)
GENDER ANALYSIS
BABY: | 4/5 with abnormal calcium (80.0%)
Female: | 32/73 with abnormal calcium (43.8%)
MALE: | 1/1 with abnormal calcium (100.0%)
Male: | 9/25 with abnormal calcium (36.0%)
CRITICAL ALERTS
🚨 URGENT: 9 patients with SEVERE calcium abnormalities!
🔴 Patient PMT24223065: | 6.4 mg/dL (Normal: 8.5-10.5 mg/dL)
🔴 Patient PMT24086912: | 6.0 mg/dL (Normal: 8.5-10.5 mg/dL)
🔴 Patient PMT24006556: | 6.2 mg/dL (Normal: 8.5-10.5 mg/dL)
🔴 Patient PMT25001177: | 5.4 mg/dL (Normal: 8.5-10.5 mg/dL)
🔴 Patient PMT22112957: | 5.9 mg/dL (Normal: 8.5-10.5 mg/dL)
🔴 Patient PMT25017657: | 1.1 mg/dL (Normal: 8.5-10.5 mg/dL)
🔴 Patient PMT25016506: | 1.2 mg/dL (Normal: 8.5-10.5 mg/dL)
🔴 Patient PMT25023197: | 6.4 mg/dL (Normal: 8.5-10.5 mg/dL)
🔴 Patient XYZ: | 500.0 mg/dL (Normal: 8.5-10.5 mg/dL)